## Master Checklist
Amalgam Separator Inspection Checklist
Date: |  |  | Time: |  |  | Inspector:
Practice/Doctor's Name:
Total # of Chairs: |  | # of Operatory chairs: |  |  |  |  | # of Hygiene only chairs:
Total # of Hygienists: |  | # of Full Time: |  |  |  |  | # of Part Time:
Total # of Doctors: |  | # of Full Time: |  |  |  |  | # of Part Time:
Is waste from traps, screens, filters, tools, and solids collection devices handled and disposed as toxic waste?
Recycling/Disposal Company:
Evacuation System Line Cleaning Product:
How often is the line cleaner used: | [6 empty] | Product pH (MSDS):
Type of vacuum system pump (wet, dry, unknown): |  |  |  | Pump Suction Guage Reading:
# of Amalgam Separators in use at facility: |  |  |  | Location of Separator:
Manufacturer: |  |  |  | Model:
Condition of Amalgam Separator: (Leaking, cracks, bypass, etc.)
Is the upper chamber clear of obstructions? |  |  |  | Estimated % of sludge in upper chamber:
Is the separator's collection container full? |  |  |  | Estimated % of sludge in collection container:
Date of Last Maintenance? |  |  |  | Number of filter changes per year?
Inspector must visually confirm the following records are onsite and up to date:
| One-Time Compliance Report |  |  |  | Amalgam container replacement dates
| Operation & Maintenance manual |  |  |  | Amalgam disposal records
| Self inspection records |  |  |  | Separator unit repair or replacement records
NOTES: